{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"external_links":1,"defined_names":1,"comments":14},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":30,"n_cols":20,"rows_kept":30,"flags":["formulas_cached_only"]}
["起始符（勿删）","类别","行政区","企业名称","监测点名称","执行标准名称","监测日期（yyyy/mm/dd）","监测项目名称","污染物浓度","标准限值","是否达标","超标倍数","备注","是否合并统计","批次","执法单位","监测单位","社会组织机构代码",null,"监测报告编号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","pH值",7.19,"6~9","是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","悬浮物","4L",30,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","化学需氧量",7,50,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","总磷",0.04,0.5,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","总氮",12.7,15,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","氨氮",0.075,8,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","氟化物",2.97,10,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","石油类",0.35,2,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","六价铬","0.004L",0.1,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","总铬","0.03L",0.5,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","总锌","0.05L",1,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","总铁","0.03L",2,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","总铜","0.05L",0.3,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山市保利来建材实业有限公司","污水排放口（WS-15210)","参考《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-01-16","总镍","0.01L",0.1,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站",553674558,null,"（高明）环境监测(委)字(水)（2024）第240116001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","pH值",5.2,"6~9","否","/",{"$nulls":3},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","悬浮物","4L",30,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","化学需氧量",8,50,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","总磷",0.68,0.5,"否",0.36,{"$nulls":3},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","总氮",146,15,"否",8.73,{"$nulls":3},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","氨氮",0.485,8,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","石油类",0.37,2,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","总镍",0.25,0.1,"否",{"v":1.5,"d":"1.50"},{"$nulls":3},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"废水重点","高明区","佛山高明康发铝业有限公司","废水处理设施排放口（WS-15409-1)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2024-03-26","氟化物",0.52,10,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4URXY13",null,"（高明）环境监测(委)字(水)（2024）第240326001号"]
[null,"固定源废气VOCs","高明区","佛山市威仕达新材料有限公司","有机废气排放口（FQ-05087-4）","《合成革与人造革工业污染物排放标准GB 21902-2008》排放限值","2024-03-22","总VOCs",1.51,150,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA54M3ANX",null,"（高明）环境监测（委）字（气）（2024）第240322001V号"]
[null,"固定源废气VOCs","高明区","佛山市威仕达新材料有限公司","有机废气排放口（FQ-05087-5）","《合成革与人造革工业污染物排放标准GB 21902-2008》排放限值","2024-03-22","总VOCs",5.93,150,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA54M3ANX",null,"（高明）环境监测（委）字（气）（2024）第240322001V号"]
[null,"固定源废气VOCs","高明区","佛山市威仕达新材料有限公司","有机废气排放口（FQ-05087-2）","《合成革与人造革工业污染物排放标准GB 21902-2008》排放限值","2024-03-22","总VOCs",{"v":1.2,"d":"1.20"},150,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA54M3ANX",null,"（高明）环境监测（委）字（气）（2024）第240322001V号"]
[null,"固定源废气VOCs","高明区","佛山市思贤家具有限公司","底漆房有机废气排放口（FQ-17346-1）","《家具制造行业挥发性有机化合物排放标准》（DB44/814-2010）标准限值","2024-03-27","苯",0.04,1,"是",{"$nulls":4},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4W5MCU2",null,"（高明）环境监测（委）字（气）（2024）第240327001V号"]
[null,"固定源废气VOCs","高明区","佛山市思贤家具有限公司","底漆房有机废气排放口（FQ-17346-1）","《家具制造行业挥发性有机化合物排放标准》（DB44/814-2010）标准限值","2024-03-27","甲苯与二甲苯合计",30.72,20,"否",0.54,{"$nulls":3},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4W5MCU2",null,"（高明）环境监测（委）字（气）（2024）第240327001V号"]
[null,"固定源废气VOCs","高明区","佛山市思贤家具有限公司","底漆房有机废气排放口（FQ-17346-1）","《家具制造行业挥发性有机化合物排放标准》（DB44/814-2010）标准限值","2024-03-27","总VOCs",231.76,30,"否",6.73,{"$nulls":3},"佛山市生态环境局高明分局","佛山市高明生态环境监测站","MA4W5MCU2",null,"（高明）环境监测（委）字（气）（2024）第240327001V号"]

{"sheet":"Sheet2","index":1,"n_rows":11,"n_cols":10,"rows_kept":11,"flags":["formulas_cached_only"]}
["废气重点","废水重点","污水厂","危废企业废气","危废企业废水","重金属废气","重金属废水","垃圾场废水","垃圾场废气","垃圾场地下水"]
["废气重点"]
["废水重点"]
["污水厂"]
["危废企业废气"]
["危废企业废水"]
["重金属废气"]
["重金属废水"]
["垃圾场废水"]
["垃圾场废气"]
["垃圾场地下水"]