{"text_format":"3","workbook":"xls","n_sheets":2,"sheets":["Sheet1","Sheet2"],"not_rendered":{"external_links":1,"defined_names":1,"comments":11},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":8,"n_cols":11,"rows_kept":8,"flags":["formulas_cached_only"]}
["类别","行政区","企业名称","监测点名称","执行标准名称","监测日期","监测项目名称","污染物浓度","标准限值","是否达标","超标倍数"]
["废水重点","高明区","佛山市高明区中信华电子有限公司","处理后排放口（WS-12402)","《电镀水污染物排放标准》\n（DB 44/1597-2015）排放限值","2025-03-19","pH值",6.4,"6~9","是"]
["废水重点","高明区","佛山市高明区中信华电子有限公司","处理后排放口（WS-12402)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2025-03-19","悬浮物","4L",30,"是"]
["废水重点","高明区","佛山市高明区中信华电子有限公司","处理后排放口（WS-12402)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2025-03-19","化学需氧量",32,50,"是"]
["废水重点","高明区","佛山市高明区中信华电子有限公司","处理后排放口（WS-12402)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2025-03-19","总磷",0.01,0.5,"是"]
["废水重点","高明区","佛山市高明区中信华电子有限公司","处理后排放口（WS-12402)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2025-03-19","总氮",10.1,15,"是"]
["废水重点","高明区","佛山市高明区中信华电子有限公司","处理后排放口（WS-12402)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2025-03-19","氨氮",0.075,8,"是"]
["废水重点","高明区","佛山市高明区中信华电子有限公司","处理后排放口（WS-12402)","《电镀水污染物排放标准》（DB44/1597-2015 ）排放限值","2025-03-19","总铜","0.05L",0.3,"是"]

{"sheet":"Sheet2","index":1,"n_rows":11,"n_cols":10,"rows_kept":11,"flags":["formulas_cached_only"]}
["废气重点","废水重点","污水厂","危废企业废气","危废企业废水","重金属废气","重金属废水","垃圾场废水","垃圾场废气","垃圾场地下水"]
["废气重点"]
["废水重点"]
["污水厂"]
["危废企业废气"]
["危废企业废水"]
["重金属废气"]
["重金属废水"]
["垃圾场废水"]
["垃圾场废气"]
["垃圾场地下水"]