{"text_format":"3","workbook":"xls","n_sheets":7,"sheets":["星期一","星期二","星期三","星期四","星期五","星期六","星期日"],"not_rendered":{"external_links":2,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"星期一","index":0,"n_rows":73,"n_cols":10,"rows_kept":73,"merged":[[1,0,1,9],[3,0,72,0]],"flags":["formulas_cached_only"]}
["附件2"]
["高明区2015年有序用电安排表"]
["有序用电时间","序号","变电站名称","线路名称","有序用电级别",null,"序号","变电站名称","线路名称","有序用电级别"]
["星期一",1,"兴良站","江威线",1,null,71,"明城站","新圩线",2]
[null,2,"兴良站","兴民线",1,null,72,"明城站","城北线",2]
[null,3,"兴良站","联润线",1,null,73,"明城站","雅居甲线",2]
[null,4,"兴良站","明海线",1,null,74,"明城站","明围线",2]
[null,5,"兴良站","下良线",1,null,75,"明城站","东洲线",2]
[null,6,"富湾站","35kV富西线",1,null,76,"明城站","城二线",2]
[null,7,"富湾站","35kV海螺线",1,null,77,"明城站","新峰线",2]
[null,8,"富湾站","富湾线",1,null,78,"明城站","官迳线",2]
[null,9,"富湾站","锰矿线",1,null,79,"明城站","城西线",2]
[null,10,"富湾站","佛照甲线",1,null,80,"明城站","北区线",2]
[null,11,"富湾站","业和线",1,null,81,"明城站","太康线",2]
[null,12,"富湾站","业恒线",1,null,82,"明城站","明城线",2]
[null,13,"富湾站","富荷线",1,null,83,"禄堂站","白管线",2]
[null,14,"富湾站","东泽线",1,null,84,"禄堂站","建材丙线",2]
[null,15,"富湾站","蓬山线",1,null,85,"禄堂站","建材丁线",2]
[null,16,"富湾站","华富线",1,null,86,"禄堂站","云勇线",2]
[null,17,"富湾站","富油乙线",1,null,87,"丽景站","西安线",3]
[null,18,"富湾站","富油甲线",1,null,88,"丽景站","丽江线",3]
[null,19,"富湾站","渡头线",1,null,89,"丽景站","墨编线",3]
[null,20,"富湾站","宏基线",1,null,90,"丽景站","海田线",3]
[null,21,"富湾站","江北线",1,null,91,"丽景站","宝项甲线",3]
[null,22,"富湾站","佛照甲线",1,null,92,"凤翔站","头社线",3]
[null,23,"荷城站","南岸线",1,null,93,"凤翔站","石洲线",3]
[null,24,"荷城站","宏昌线",1,null,94,"凤翔站","高穗线",3]
[null,25,"荷城站","庆洲线",1,null,95,"兴良站","兴和甲线",3]
[null,26,"荷城站","农场线",1,null,96,"兴良站","兴和乙线",3]
[null,27,"荷城站","苏秀线",1,null,97,"兴良站","沙岗甲线",3]
[null,28,"仁德站","汇源线",1,null,98,"兴良站","沙岗乙线",3]
[null,29,"仁德站","恒威线",1,null,99,"高明站","岑水甲线",3]
[null,30,"仁德站","永安线",1,null,100,"高明站","岑水乙线",3]
[null,31,"仁德站","剧院线",1,null,101,"高明站","大楠线",3]
[null,32,"仁德站","名仕线",1,null,102,"高明站","清太线",3]
[null,33,"仁德站","福泰线",1,null,103,"高明站","宝进线",3]
[null,34,"仁德站","罗西线",1,null,104,"高明站","和风线",3]
[null,35,"仁德站","古孟线",1,null,105,"高明站","对川线",3]
[null,36,"仁德站","大成线",1,null,106,"高明站","福煌线",3]
[null,37,"仁德站","名雅线",1,null,107,"高明站","镇府线",3]
[null,38,"仁德站","东升线",1,null,108,"高明站","圆岗甲线",3]
[null,39,"仁德站","泰和线",1,null,109,"高明站","圆岗乙线",3]
[null,40,"仁德站","白梅线",1,null,110,"高明站","圆岗丙线",3]
[null,41,"仁德站","泰华线",1,null,111,"高明站","大沙线",3]
[null,42,"仁德站","宝行线",1,null,112,"更楼站","陀柳线",4]
[null,43,"三洲站","一塑线",1,null,113,"更楼站","兆和线",4]
[null,44,"三洲站","碧桂线",1,null,114,"更楼站","顾地线",4]
[null,45,"三洲站","山庄线",1,null,115,"更楼站","泽河线",4]
[null,46,"三洲站","得宝线",1,null,116,"合水站","宅布线",4]
[null,47,"三洲站","穗明线",1,null,117,"合水站","松围线",4]
[null,48,"三洲站","河畔线",1,null,118,"合水站","合塘线",4]
[null,49,"三洲站","民康线",1,null,119,"合水站","合诚甲线",4]
[null,50,"三洲站","路灯线",1,null,120,"合水站","瑶村线",4]
[null,51,"三洲站","豪景线",1,null,121,"合水站","合顺甲线",4]
[null,52,"禄堂站","宝钢丙线",2,null,122,"合水站","诚德甲线",4]
[null,53,"禄堂站","站东线",2,null,123,"合水站","广建线",4]
[null,54,"禄堂站","川坑线",2,null,124,"合水站","合诚乙线",4]
[null,55,"禄堂站","独岗线",2,null,125,"后龙站","渡水线",4]
[null,56,"禄堂站","基业甲线",2,null,126,"后龙站","天湖线",4]
[null,57,"禄堂站","粤宏发线",2,null,127,"后龙站","歌乐线",4]
[null,58,"禄堂站","联高线",2,null,128,"后龙站","梧桐线",4]
[null,59,"禄堂站","和盈线",2,null,129,"后龙站","高森甲线",4]
[null,60,"禄堂站","围子线",2,null,130,"小洞站","永航甲线",4]
[null,61,"禄堂站","后洞线",2,null,131,"小洞站","永航乙线",4]
[null,62,"禄堂站","禄川线",2,null,132,"小洞站","官山线",4]
[null,63,"高明站","云水线",2,null,133,"小洞站","黄象线",4]
[null,64,"高明站","坑角线",2,null,134,"小洞站","小建线",4]
[null,65,"高明站","崇步线",2,null,135,"小洞站","塘角线",4]
[null,66,"明城站","35kV明峰线",2,null,136,"小洞站","中德线",4]
[null,67,"明城站","35kV明公线",2,null,137,"小洞站","小洞线",4]
[null,68,"明城站","35kV佛明线",2,null,138,"小洞站","豪帮甲线",4]
[null,69,"明城站","35kV明协线",2,null,139,"小洞站","小宅线",4]
[null,70,"明城站","富雄线",2]

{"sheet":"星期二","index":1,"n_rows":85,"n_cols":10,"rows_kept":85,"merged":[[0,0,0,9],[2,0,84,0]],"flags":["formulas_cached_only"]}
["高明区2015年有序用电安排表"]
["有序用电时间","序号","变电站名称","线路名称","有序用电级别",null,"序号","变电站名称","线路名称","有序用电级别"]
["星期二",1,"三洲站","坚明线",1,null,84,"更楼站","德铸甲线",2]
[null,2,"三洲站","考场线",1,null,85,"更楼站","陶瓷线",2]
[null,3,"三洲站","纪中线",1,null,86,"更楼站","更诚乙线",2]
[null,4,"三洲站","创业线",1,null,87,"更楼站","冶炼线",2]
[null,5,"三洲站","三尼线",1,null,88,"更楼站","更居线",2]
[null,6,"三洲站","东明线",1,null,89,"更楼站","远达线",2]
[null,7,"三洲站","三洲线",1,null,90,"更楼站","塑料线",2]
[null,8,"仙村站","明和线",1,null,91,"更楼站","五金线",2]
[null,9,"仙村站","顺成甲线",1,null,92,"仙村站","人和线",3]
[null,10,"仙村站","海天甲线",1,null,93,"仙村站","三和丙线",3]
[null,11,"仙村站","安鸿线",1,null,94,"仙村站","三和乙线",3]
[null,12,"仙村站","金穗线",1,null,95,"仙村站","三和甲线",3]
[null,13,"仙村站","海天丙线",1,null,96,"杨梅站","井头线",3]
[null,14,"仙村站","海天丁线",1,null,97,"杨梅站","吉特线",3]
[null,15,"仙村站","法恩线",1,null,98,"杨梅站","杨梅线",3]
[null,16,"仙村站","西庆丁线",1,null,99,"杨梅站","溢达甲线",3]
[null,17,"仙村站","尼教线",1,null,100,"杨梅站","六联甲线",3]
[null,18,"仙村站","包装甲线",1,null,101,"杨梅站","六联乙线",3]
[null,19,"仙村站","孔堂线",1,null,102,"杨梅站","三英线",3]
[null,20,"仙村站","顺成乙线",1,null,103,"杨梅站","云顶岗线",3]
[null,21,"仙村站","兴创线",1,null,104,"杨梅站","云下线",3]
[null,22,"仙村站","雄顺线",1,null,105,"杨梅站","大塘面线",3]
[null,23,"仙村站","兴源线",1,null,106,"杨梅站","六联丙线",3]
[null,24,"仙村站","海天乙线",1,null,107,"杨梅站","河西线",3]
[null,25,"仙村站","本田线",1,null,108,"杨梅站","溢达乙线",3]
[null,26,"秀丽站","110KV溢秀线",1,null,109,"杨梅站","三石线",3]
[null,27,"秀丽站","明都线",1,null,110,"杨梅站","深吉线",3]
[null,28,"秀丽站","文华线",1,null,111,"禄堂站","110KV禄金线",3]
[null,29,"秀丽站","文明线",1,null,112,"禄堂站","宝钢丁线",3]
[null,30,"秀丽站","交通线",1,null,113,"禄堂站","合和线",3]
[null,31,"秀丽站","文竹线",1,null,114,"禄堂站","宝钢甲线",3]
[null,32,"秀丽站","一小线",1,null,115,"禄堂站","宝钢乙线",3]
[null,33,"秀丽站","技工线",1,null,116,"兴良站","江威线",4]
[null,34,"秀丽站","荷香线",1,null,117,"兴良站","兴民线",4]
[null,35,"秀丽站","沧江线",1,null,118,"兴良站","联润线",4]
[null,36,"秀丽站","沿江线",1,null,119,"兴良站","明海线",4]
[null,37,"秀丽站","水泥线",1,null,120,"兴良站","下良线",4]
[null,38,"秀丽站","跃华线",1,null,121,"富湾站","35kV富西线",4]
[null,39,"秀丽站","市府线",1,null,122,"富湾站","35kV海螺线",4]
[null,40,"秀丽站","世嘉线",1,null,123,"富湾站","富湾线",4]
[null,41,"秀丽站","文昌线",1,null,124,"富湾站","锰矿线",4]
[null,42,"秀丽站","鹿湖线",1,null,125,"富湾站","佛照甲线",4]
[null,43,"秀丽站","二轻线",1,null,126,"富湾站","业和线",4]
[null,44,"秀丽站","勤学线",1,null,127,"富湾站","业恒线",4]
[null,45,"秀丽站","二塑线",1,null,128,"富湾站","富荷线",4]
[null,46,"秀丽站","水闸线",1,null,129,"富湾站","东泽线",4]
[null,47,"秀丽站","大桥线",1,null,130,"富湾站","蓬山线",4]
[null,48,"秀丽站","口岸线",1,null,131,"富湾站","华富线",4]
[null,49,"秀丽站","彩印线",1,null,132,"富湾站","富油乙线",4]
[null,50,"丽景站","精工线",1,null,133,"富湾站","富油甲线",4]
[null,51,"丽景站","冼何线",1,null,134,"富湾站","渡头线",4]
[null,52,"丽景站","丽北线",1,null,135,"富湾站","宏基线",4]
[null,53,"丽景站","鳌围线",1,null,136,"富湾站","江北线",4]
[null,54,"丽景站","丽福线",1,null,137,"富湾站","佛照甲线",4]
[null,55,"丽景站","盈夏线",1,null,138,"荷城站","南岸线",4]
[null,56,"丽景站","范洲线",1,null,139,"荷城站","宏昌线",4]
[null,57,"禄堂站","王者甲线",2,null,140,"荷城站","庆洲线",4]
[null,58,"禄堂站","王者乙线",2,null,141,"荷城站","农场线",4]
[null,59,"禄堂站","禾仓线",2,null,142,"荷城站","苏秀线",4]
[null,60,"禄堂站","建材甲线",2,null,143,"仁德站","汇源线",4]
[null,61,"禄堂站","建材乙线",2,null,144,"仁德站","恒威线",4]
[null,62,"禄堂站","榕根线",2,null,145,"仁德站","永安线",4]
[null,63,"石塘站","谭朗线",2,null,146,"仁德站","剧院线",4]
[null,64,"石塘站","石明线",2,null,147,"仁德站","名仕线",4]
[null,65,"石塘站","高田线",2,null,148,"仁德站","福泰线",4]
[null,66,"石塘站","日钢线",2,null,149,"仁德站","罗西线",4]
[null,67,"石塘站","天喜线",2,null,150,"仁德站","古孟线",4]
[null,68,"石塘站","高西线",2,null,151,"仁德站","大成线",4]
[null,69,"石塘站","石苗线",2,null,152,"仁德站","名雅线",4]
[null,70,"石塘站","华兴甲线",2,null,153,"仁德站","东升线",4]
[null,71,"石塘站","新村线",2,null,154,"仁德站","泰和线",4]
[null,72,"石塘站","商贸线",2,null,155,"仁德站","白梅线",4]
[null,73,"石塘站","桥头线",2,null,156,"仁德站","泰华线",4]
[null,74,"石塘站","南钢线",2,null,157,"仁德站","宝行线",4]
[null,75,"石塘站","华兴乙线",2,null,158,"三洲站","一塑线",4]
[null,76,"鹅村站","坑头线",2,null,159,"三洲站","碧桂线",4]
[null,77,"鹅村站","沙村线",2,null,160,"三洲站","山庄线",4]
[null,78,"鹅村站","版村线",2,null,161,"三洲站","得宝线",4]
[null,79,"更楼站","耀银甲线",2,null,162,"三洲站","穗明线",4]
[null,80,"更楼站","更诚甲线",2,null,163,"三洲站","河畔线",4]
[null,81,"更楼站","佬菜线",2,null,164,"三洲站","民康线",4]
[null,82,"更楼站","耀银乙线",2,null,165,"三洲站","路灯线",4]
[null,83,"更楼站","钢铁线",2,null,166,"三洲站","豪景线",4]

{"sheet":"星期三","index":2,"n_rows":74,"n_cols":10,"rows_kept":74,"merged":[[0,0,0,9],[2,0,73,0]],"flags":["formulas_cached_only"]}
["高明区2015年有序用电安排表"]
["有序用电时间","序号","变电站名称","线路名称","有序用电级别",null,"序号","变电站名称","线路名称","有序用电级别"]
["星期三",1,"丽景站","西安线",1,null,73,"明城站","新圩线",3]
[null,2,"丽景站","丽江线",1,null,74,"明城站","城北线",3]
[null,3,"丽景站","墨编线",1,null,75,"明城站","雅居甲线",3]
[null,4,"丽景站","海田线",1,null,76,"明城站","明围线",3]
[null,5,"丽景站","宝项甲线",1,null,77,"明城站","东洲线",3]
[null,6,"凤翔站","头社线",1,null,78,"明城站","城二线",3]
[null,7,"凤翔站","石洲线",1,null,79,"明城站","新峰线",3]
[null,8,"凤翔站","高穗线",1,null,80,"明城站","官迳线",3]
[null,9,"兴良站","兴和甲线",1,null,81,"明城站","城西线",3]
[null,10,"兴良站","兴和乙线",1,null,82,"明城站","北区线",3]
[null,11,"兴良站","沙岗甲线",1,null,83,"明城站","太康线",3]
[null,12,"兴良站","沙岗乙线",1,null,84,"明城站","明城线",3]
[null,13,"高明站","岑水甲线",1,null,85,"禄堂站","白管线",3]
[null,14,"高明站","岑水乙线",1,null,86,"禄堂站","建材丙线",3]
[null,15,"高明站","大楠线",1,null,87,"禄堂站","建材丁线",3]
[null,16,"高明站","清太线",1,null,88,"禄堂站","云勇线",3]
[null,17,"高明站","宝进线",1,null,89,"三洲站","坚明线",4]
[null,18,"高明站","和风线",1,null,90,"三洲站","考场线",4]
[null,19,"高明站","对川线",1,null,91,"三洲站","纪中线",4]
[null,20,"高明站","福煌线",1,null,92,"三洲站","创业线",4]
[null,21,"高明站","镇府线",1,null,93,"三洲站","三尼线",4]
[null,22,"高明站","圆岗甲线",1,null,94,"三洲站","东明线",4]
[null,23,"高明站","圆岗乙线",1,null,95,"三洲站","三洲线",4]
[null,24,"高明站","圆岗丙线",1,null,96,"仙村站","明和线",4]
[null,25,"高明站","大沙线",1,null,97,"仙村站","顺成甲线",4]
[null,26,"更楼站","陀柳线",2,null,98,"仙村站","海天甲线",4]
[null,27,"更楼站","兆和线",2,null,99,"仙村站","安鸿线",4]
[null,28,"更楼站","顾地线",2,null,100,"仙村站","金穗线",4]
[null,29,"更楼站","泽河线",2,null,101,"仙村站","海天丙线",4]
[null,30,"合水站","宅布线",2,null,102,"仙村站","海天丁线",4]
[null,31,"合水站","松围线",2,null,103,"仙村站","法恩线",4]
[null,32,"合水站","合塘线",2,null,104,"仙村站","西庆丁线",4]
[null,33,"合水站","合诚甲线",2,null,105,"仙村站","尼教线",4]
[null,34,"合水站","瑶村线",2,null,106,"仙村站","包装甲线",4]
[null,35,"合水站","合顺甲线",2,null,107,"仙村站","孔堂线",4]
[null,36,"合水站","诚德甲线",2,null,108,"仙村站","顺成乙线",4]
[null,37,"合水站","广建线",2,null,109,"仙村站","兴创线",4]
[null,38,"合水站","合诚乙线",2,null,110,"仙村站","雄顺线",4]
[null,39,"后龙站","渡水线",2,null,111,"仙村站","兴源线",4]
[null,40,"后龙站","天湖线",2,null,112,"仙村站","海天乙线",4]
[null,41,"后龙站","歌乐线",2,null,113,"仙村站","本田线",4]
[null,42,"后龙站","梧桐线",2,null,114,"秀丽站","110KV溢秀线",4]
[null,43,"后龙站","高森甲线",2,null,115,"秀丽站","明都线",4]
[null,44,"小洞站","永航甲线",2,null,116,"秀丽站","文华线",4]
[null,45,"小洞站","永航乙线",2,null,117,"秀丽站","文明线",4]
[null,46,"小洞站","官山线",2,null,118,"秀丽站","交通线",4]
[null,47,"小洞站","黄象线",2,null,119,"秀丽站","文竹线",4]
[null,48,"小洞站","小建线",2,null,120,"秀丽站","一小线",4]
[null,49,"小洞站","塘角线",2,null,121,"秀丽站","技工线",4]
[null,50,"小洞站","中德线",2,null,122,"秀丽站","荷香线",4]
[null,51,"小洞站","小洞线",2,null,123,"秀丽站","沧江线",4]
[null,52,"小洞站","豪帮甲线",2,null,124,"秀丽站","沿江线",4]
[null,53,"小洞站","小宅线",2,null,125,"秀丽站","水泥线",4]
[null,54,"禄堂站","宝钢丙线",3,null,126,"秀丽站","跃华线",4]
[null,55,"禄堂站","站东线",3,null,127,"秀丽站","市府线",4]
[null,56,"禄堂站","川坑线",3,null,128,"秀丽站","世嘉线",4]
[null,57,"禄堂站","独岗线",3,null,129,"秀丽站","文昌线",4]
[null,58,"禄堂站","基业甲线",3,null,130,"秀丽站","鹿湖线",4]
[null,59,"禄堂站","粤宏发线",3,null,131,"秀丽站","二轻线",4]
[null,60,"禄堂站","联高线",3,null,132,"秀丽站","勤学线",4]
[null,61,"禄堂站","和盈线",3,null,133,"秀丽站","二塑线",4]
[null,62,"禄堂站","围子线",3,null,134,"秀丽站","水闸线",4]
[null,63,"禄堂站","后洞线",3,null,135,"秀丽站","大桥线",4]
[null,64,"禄堂站","禄川线",3,null,136,"秀丽站","口岸线",4]
[null,65,"高明站","云水线",3,null,137,"秀丽站","彩印线",4]
[null,66,"高明站","坑角线",3,null,138,"丽景站","精工线",4]
[null,67,"高明站","崇步线",3,null,139,"丽景站","冼何线",4]
[null,68,"明城站","35kV明峰线",3,null,140,"丽景站","丽北线",4]
[null,69,"明城站","35kV明公线",3,null,141,"丽景站","鳌围线",4]
[null,70,"明城站","35kV佛明线",3,null,142,"丽景站","丽福线",4]
[null,71,"明城站","35kV明协线",3,null,143,"丽景站","盈夏线",4]
[null,72,"明城站","富雄线",3,null,144,"丽景站","范洲线",4]

{"sheet":"星期四","index":3,"n_rows":70,"n_cols":10,"rows_kept":70,"merged":[[0,0,0,9],[2,0,69,0]],"flags":["formulas_cached_only"]}
["高明区2015年有序用电安排表"]
["有序用电时间","序号","变电站名称","线路名称","有序用电级别",null,"序号","变电站名称","线路名称","有序用电级别"]
["星期四",1,"仙村站","人和线",1,null,69,"三洲站","山庄线",2]
[null,2,"仙村站","三和丙线",1,null,70,"三洲站","得宝线",2]
[null,3,"仙村站","三和乙线",1,null,71,"三洲站","穗明线",2]
[null,4,"仙村站","三和甲线",1,null,72,"三洲站","河畔线",2]
[null,5,"杨梅站","井头线",1,null,73,"三洲站","民康线",2]
[null,6,"杨梅站","吉特线",1,null,74,"三洲站","路灯线",2]
[null,7,"杨梅站","杨梅线",1,null,75,"三洲站","豪景线",2]
[null,8,"杨梅站","溢达甲线",1,null,76,"禄堂站","王者甲线",3]
[null,9,"杨梅站","六联甲线",1,null,77,"禄堂站","王者乙线",3]
[null,10,"杨梅站","六联乙线",1,null,78,"禄堂站","禾仓线",3]
[null,11,"杨梅站","三英线",1,null,79,"禄堂站","建材甲线",3]
[null,12,"杨梅站","云顶岗线",1,null,80,"禄堂站","建材乙线",3]
[null,13,"杨梅站","云下线",1,null,81,"禄堂站","榕根线",3]
[null,14,"杨梅站","大塘面线",1,null,82,"石塘站","谭朗线",3]
[null,15,"杨梅站","六联丙线",1,null,83,"石塘站","石明线",3]
[null,16,"杨梅站","河西线",1,null,84,"石塘站","高田线",3]
[null,17,"杨梅站","溢达乙线",1,null,85,"石塘站","日钢线",3]
[null,18,"杨梅站","三石线",1,null,86,"石塘站","天喜线",3]
[null,19,"杨梅站","深吉线",1,null,87,"石塘站","高西线",3]
[null,20,"禄堂站","110KV禄金线",1,null,88,"石塘站","石苗线",3]
[null,21,"禄堂站","宝钢丁线",1,null,89,"石塘站","华兴甲线",3]
[null,22,"禄堂站","合和线",1,null,90,"石塘站","新村线",3]
[null,23,"禄堂站","宝钢甲线",1,null,91,"石塘站","商贸线",3]
[null,24,"禄堂站","宝钢乙线",1,null,92,"石塘站","桥头线",3]
[null,25,"兴良站","江威线",2,null,93,"石塘站","南钢线",3]
[null,26,"兴良站","兴民线",2,null,94,"石塘站","华兴乙线",3]
[null,27,"兴良站","联润线",2,null,95,"鹅村站","坑头线",3]
[null,28,"兴良站","明海线",2,null,96,"鹅村站","沙村线",3]
[null,29,"兴良站","下良线",2,null,97,"鹅村站","版村线",3]
[null,30,"富湾站","35kV富西线",2,null,98,"更楼站","耀银甲线",3]
[null,31,"富湾站","35kV海螺线",2,null,99,"更楼站","更诚甲线",3]
[null,32,"富湾站","富湾线",2,null,100,"更楼站","佬菜线",3]
[null,33,"富湾站","锰矿线",2,null,101,"更楼站","耀银乙线",3]
[null,34,"富湾站","佛照甲线",2,null,102,"更楼站","钢铁线",3]
[null,35,"富湾站","业和线",2,null,103,"更楼站","德铸甲线",3]
[null,36,"富湾站","业恒线",2,null,104,"更楼站","陶瓷线",3]
[null,37,"富湾站","富荷线",2,null,105,"更楼站","更诚乙线",3]
[null,38,"富湾站","东泽线",2,null,106,"更楼站","冶炼线",3]
[null,39,"富湾站","蓬山线",2,null,107,"更楼站","更居线",3]
[null,40,"富湾站","华富线",2,null,108,"更楼站","远达线",3]
[null,41,"富湾站","富油乙线",2,null,109,"更楼站","塑料线",3]
[null,42,"富湾站","富油甲线",2,null,110,"更楼站","五金线",3]
[null,43,"富湾站","渡头线",2,null,111,"丽景站","西安线",4]
[null,44,"富湾站","宏基线",2,null,112,"丽景站","丽江线",4]
[null,45,"富湾站","江北线",2,null,113,"丽景站","墨编线",4]
[null,46,"富湾站","佛照甲线",2,null,114,"丽景站","海田线",4]
[null,47,"荷城站","南岸线",2,null,115,"丽景站","宝项甲线",4]
[null,48,"荷城站","宏昌线",2,null,116,"凤翔站","头社线",4]
[null,49,"荷城站","庆洲线",2,null,117,"凤翔站","石洲线",4]
[null,50,"荷城站","农场线",2,null,118,"凤翔站","高穗线",4]
[null,51,"荷城站","苏秀线",2,null,119,"兴良站","兴和甲线",4]
[null,52,"仁德站","汇源线",2,null,120,"兴良站","兴和乙线",4]
[null,53,"仁德站","恒威线",2,null,121,"兴良站","沙岗甲线",4]
[null,54,"仁德站","永安线",2,null,122,"兴良站","沙岗乙线",4]
[null,55,"仁德站","剧院线",2,null,123,"高明站","岑水甲线",4]
[null,56,"仁德站","名仕线",2,null,124,"高明站","岑水乙线",4]
[null,57,"仁德站","福泰线",2,null,125,"高明站","大楠线",4]
[null,58,"仁德站","罗西线",2,null,126,"高明站","清太线",4]
[null,59,"仁德站","古孟线",2,null,127,"高明站","宝进线",4]
[null,60,"仁德站","大成线",2,null,128,"高明站","和风线",4]
[null,61,"仁德站","名雅线",2,null,129,"高明站","对川线",4]
[null,62,"仁德站","东升线",2,null,130,"高明站","福煌线",4]
[null,63,"仁德站","泰和线",2,null,131,"高明站","镇府线",4]
[null,64,"仁德站","白梅线",2,null,132,"高明站","圆岗甲线",4]
[null,65,"仁德站","泰华线",2,null,133,"高明站","圆岗乙线",4]
[null,66,"仁德站","宝行线",2,null,134,"高明站","圆岗丙线",4]
[null,67,"三洲站","一塑线",2,null,135,"高明站","大沙线",4]
[null,68,"三洲站","碧桂线",2]

{"sheet":"星期五","index":4,"n_rows":75,"n_cols":10,"rows_kept":75,"merged":[[0,0,0,9],[2,0,74,0]],"flags":["formulas_cached_only"]}
["高明区2014年有序用电安排表"]
["有序用电时间","序号","变电站名称","线路名称","有序用电级别",null,"序号","变电站名称","线路名称","有序用电级别"]
["星期五",1,"禄堂站","宝钢丙线",1,null,74,"秀丽站","市府线",2]
[null,2,"禄堂站","站东线",1,null,75,"秀丽站","世嘉线",2]
[null,3,"禄堂站","川坑线",1,null,76,"秀丽站","文昌线",2]
[null,4,"禄堂站","独岗线",1,null,77,"秀丽站","鹿湖线",2]
[null,5,"禄堂站","基业甲线",1,null,78,"秀丽站","二轻线",2]
[null,6,"禄堂站","粤宏发线",1,null,79,"秀丽站","勤学线",2]
[null,7,"禄堂站","联高线",1,null,80,"秀丽站","二塑线",2]
[null,8,"禄堂站","和盈线",1,null,81,"秀丽站","水闸线",2]
[null,9,"禄堂站","围子线",1,null,82,"秀丽站","大桥线",2]
[null,10,"禄堂站","后洞线",1,null,83,"秀丽站","口岸线",2]
[null,11,"禄堂站","禄川线",1,null,84,"秀丽站","彩印线",2]
[null,12,"高明站","云水线",1,null,85,"丽景站","精工线",2]
[null,13,"高明站","坑角线",1,null,86,"丽景站","冼何线",2]
[null,14,"高明站","崇步线",1,null,87,"丽景站","丽北线",2]
[null,15,"明城站","35kV明峰线",1,null,88,"丽景站","鳌围线",2]
[null,16,"明城站","35kV明公线",1,null,89,"丽景站","丽福线",2]
[null,17,"明城站","35kV佛明线",1,null,90,"丽景站","盈夏线",2]
[null,18,"明城站","35kV明协线",1,null,91,"丽景站","范洲线",2]
[null,19,"明城站","富雄线",1,null,92,"更楼站","陀柳线",3]
[null,20,"明城站","新圩线",1,null,93,"更楼站","兆和线",3]
[null,21,"明城站","城北线",1,null,94,"更楼站","顾地线",3]
[null,22,"明城站","雅居甲线",1,null,95,"更楼站","泽河线",3]
[null,23,"明城站","明围线",1,null,96,"合水站","宅布线",3]
[null,24,"明城站","东洲线",1,null,97,"合水站","松围线",3]
[null,25,"明城站","城二线",1,null,98,"合水站","合塘线",3]
[null,26,"明城站","新峰线",1,null,99,"合水站","合诚甲线",3]
[null,27,"明城站","官迳线",1,null,100,"合水站","瑶村线",3]
[null,28,"明城站","城西线",1,null,101,"合水站","合顺甲线",3]
[null,29,"明城站","北区线",1,null,102,"合水站","诚德甲线",3]
[null,30,"明城站","太康线",1,null,103,"合水站","广建线",3]
[null,31,"明城站","明城线",1,null,104,"合水站","合诚乙线",3]
[null,32,"禄堂站","白管线",1,null,105,"后龙站","渡水线",3]
[null,33,"禄堂站","建材丙线",1,null,106,"后龙站","天湖线",3]
[null,34,"禄堂站","建材丁线",1,null,107,"后龙站","歌乐线",3]
[null,35,"禄堂站","云勇线",1,null,108,"后龙站","梧桐线",3]
[null,36,"三洲站","坚明线",2,null,109,"后龙站","高森甲线",3]
[null,37,"三洲站","考场线",2,null,110,"小洞站","永航甲线",3]
[null,38,"三洲站","纪中线",2,null,111,"小洞站","永航乙线",3]
[null,39,"三洲站","创业线",2,null,112,"小洞站","官山线",3]
[null,40,"三洲站","三尼线",2,null,113,"小洞站","黄象线",3]
[null,41,"三洲站","东明线",2,null,114,"小洞站","小建线",3]
[null,42,"三洲站","三洲线",2,null,115,"小洞站","塘角线",3]
[null,43,"仙村站","明和线",2,null,116,"小洞站","中德线",3]
[null,44,"仙村站","顺成甲线",2,null,117,"小洞站","小洞线",3]
[null,45,"仙村站","海天甲线",2,null,118,"小洞站","豪帮甲线",3]
[null,46,"仙村站","安鸿线",2,null,119,"小洞站","小宅线",3]
[null,47,"仙村站","金穗线",2,null,120,"高明站","圆岗丙线",4]
[null,48,"仙村站","海天丙线",2,null,121,"高明站","大沙线",4]
[null,49,"仙村站","海天丁线",2,null,122,"仙村站","人和线",4]
[null,50,"仙村站","法恩线",2,null,123,"仙村站","三和丙线",4]
[null,51,"仙村站","西庆丁线",2,null,124,"仙村站","三和乙线",4]
[null,52,"仙村站","尼教线",2,null,125,"仙村站","三和甲线",4]
[null,53,"仙村站","包装甲线",2,null,126,"杨梅站","井头线",4]
[null,54,"仙村站","孔堂线",2,null,127,"杨梅站","吉特线",4]
[null,55,"仙村站","顺成乙线",2,null,128,"杨梅站","杨梅线",4]
[null,56,"仙村站","兴创线",2,null,129,"杨梅站","溢达甲线",4]
[null,57,"仙村站","雄顺线",2,null,130,"杨梅站","六联甲线",4]
[null,58,"仙村站","兴源线",2,null,131,"杨梅站","六联乙线",4]
[null,59,"仙村站","海天乙线",2,null,132,"杨梅站","三英线",4]
[null,60,"仙村站","本田线",2,null,133,"杨梅站","云顶岗线",4]
[null,61,"秀丽站","110KV溢秀线",2,null,134,"杨梅站","云下线",4]
[null,62,"秀丽站","明都线",2,null,135,"杨梅站","大塘面线",4]
[null,63,"秀丽站","文华线",2,null,136,"杨梅站","六联丙线",4]
[null,64,"秀丽站","文明线",2,null,137,"杨梅站","河西线",4]
[null,65,"秀丽站","交通线",2,null,138,"杨梅站","溢达乙线",4]
[null,66,"秀丽站","文竹线",2,null,139,"杨梅站","三石线",4]
[null,67,"秀丽站","一小线",2,null,140,"杨梅站","深吉线",4]
[null,68,"秀丽站","技工线",2,null,141,"禄堂站","110KV禄金线",4]
[null,69,"秀丽站","荷香线",2,null,142,"禄堂站","宝钢丁线",4]
[null,70,"秀丽站","沧江线",2,null,143,"禄堂站","合和线",4]
[null,71,"秀丽站","沿江线",2,null,144,"禄堂站","宝钢甲线",4]
[null,72,"秀丽站","水泥线",2,null,145,"禄堂站","宝钢乙线",4]
[null,73,"秀丽站","跃华线",2,null,146,"禄堂站","宝钢乙线",4]

{"sheet":"星期六","index":5,"n_rows":74,"n_cols":10,"rows_kept":74,"merged":[[0,0,0,9],[2,0,73,0]],"flags":["formulas_cached_only"]}
["高明区2015年有序用电安排表"]
["有序用电时间","序号","变电站名称","线路名称","有序用电级别",null,"序号","变电站名称","线路名称","有序用电级别"]
["星期六",1,"禄堂站","王者甲线",1,null,73,"富湾站","蓬山线",3]
[null,2,"禄堂站","王者乙线",1,null,74,"富湾站","华富线",3]
[null,3,"禄堂站","禾仓线",1,null,75,"富湾站","富油乙线",3]
[null,4,"禄堂站","建材甲线",1,null,76,"富湾站","富油甲线",3]
[null,5,"禄堂站","建材乙线",1,null,77,"富湾站","渡头线",3]
[null,6,"禄堂站","榕根线",1,null,78,"富湾站","宏基线",3]
[null,7,"石塘站","谭朗线",1,null,79,"富湾站","江北线",3]
[null,8,"石塘站","石明线",1,null,80,"富湾站","佛照甲线",3]
[null,9,"石塘站","高田线",1,null,81,"荷城站","南岸线",3]
[null,10,"石塘站","日钢线",1,null,82,"荷城站","宏昌线",3]
[null,11,"石塘站","天喜线",1,null,83,"荷城站","庆洲线",3]
[null,12,"石塘站","高西线",1,null,84,"荷城站","农场线",3]
[null,13,"石塘站","石苗线",1,null,85,"荷城站","苏秀线",3]
[null,14,"石塘站","华兴甲线",1,null,86,"仁德站","汇源线",3]
[null,15,"石塘站","新村线",1,null,87,"仁德站","恒威线",3]
[null,16,"石塘站","商贸线",1,null,88,"仁德站","永安线",3]
[null,17,"石塘站","桥头线",1,null,89,"仁德站","剧院线",3]
[null,18,"石塘站","南钢线",1,null,90,"仁德站","名仕线",3]
[null,19,"石塘站","华兴乙线",1,null,91,"仁德站","福泰线",3]
[null,20,"鹅村站","坑头线",1,null,92,"仁德站","罗西线",3]
[null,21,"鹅村站","沙村线",1,null,93,"仁德站","古孟线",3]
[null,22,"鹅村站","版村线",1,null,94,"仁德站","大成线",3]
[null,23,"更楼站","耀银甲线",1,null,95,"仁德站","名雅线",3]
[null,24,"更楼站","更诚甲线",1,null,96,"仁德站","东升线",3]
[null,25,"更楼站","佬菜线",1,null,97,"仁德站","泰和线",3]
[null,26,"更楼站","耀银乙线",1,null,98,"仁德站","白梅线",3]
[null,27,"更楼站","钢铁线",1,null,99,"仁德站","泰华线",3]
[null,28,"更楼站","德铸甲线",1,null,100,"仁德站","宝行线",3]
[null,29,"更楼站","陶瓷线",1,null,101,"三洲站","一塑线",3]
[null,30,"更楼站","更诚乙线",1,null,102,"三洲站","碧桂线",3]
[null,31,"更楼站","冶炼线",1,null,103,"三洲站","山庄线",3]
[null,32,"更楼站","更居线",1,null,104,"三洲站","得宝线",3]
[null,33,"更楼站","远达线",1,null,105,"三洲站","穗明线",3]
[null,34,"更楼站","塑料线",1,null,106,"三洲站","河畔线",3]
[null,35,"更楼站","五金线",1,null,107,"三洲站","民康线",3]
[null,36,"丽景站","西安线",2,null,108,"三洲站","路灯线",3]
[null,37,"丽景站","丽江线",2,null,109,"三洲站","豪景线",3]
[null,38,"丽景站","墨编线",2,null,110,"禄堂站","宝钢丙线",4]
[null,39,"丽景站","海田线",2,null,111,"禄堂站","站东线",4]
[null,40,"丽景站","宝项甲线",2,null,112,"禄堂站","川坑线",4]
[null,41,"凤翔站","头社线",2,null,113,"禄堂站","独岗线",4]
[null,42,"凤翔站","石洲线",2,null,114,"禄堂站","基业甲线",4]
[null,43,"凤翔站","高穗线",2,null,115,"禄堂站","粤宏发线",4]
[null,44,"兴良站","兴和甲线",2,null,116,"禄堂站","联高线",4]
[null,45,"兴良站","兴和乙线",2,null,117,"禄堂站","和盈线",4]
[null,46,"兴良站","沙岗甲线",2,null,118,"禄堂站","围子线",4]
[null,47,"兴良站","沙岗乙线",2,null,119,"禄堂站","后洞线",4]
[null,48,"高明站","岑水甲线",2,null,120,"禄堂站","禄川线",4]
[null,49,"高明站","岑水乙线",2,null,121,"高明站","云水线",4]
[null,50,"高明站","大楠线",2,null,122,"高明站","坑角线",4]
[null,51,"高明站","清太线",2,null,123,"高明站","崇步线",4]
[null,52,"高明站","宝进线",2,null,124,"明城站","35kV明峰线",4]
[null,53,"高明站","和风线",2,null,125,"明城站","35kV明公线",4]
[null,54,"高明站","对川线",2,null,126,"明城站","35kV佛明线",4]
[null,55,"高明站","福煌线",2,null,127,"明城站","35kV明协线",4]
[null,56,"高明站","镇府线",2,null,128,"明城站","富雄线",4]
[null,57,"高明站","圆岗甲线",2,null,129,"明城站","新圩线",4]
[null,58,"高明站","圆岗乙线",2,null,130,"明城站","城北线",4]
[null,59,"兴良站","江威线",3,null,131,"明城站","雅居甲线",4]
[null,60,"兴良站","兴民线",3,null,132,"明城站","明围线",4]
[null,61,"兴良站","联润线",3,null,133,"明城站","东洲线",4]
[null,62,"兴良站","明海线",3,null,134,"明城站","城二线",4]
[null,63,"兴良站","下良线",3,null,135,"明城站","新峰线",4]
[null,64,"富湾站","35kV富西线",3,null,136,"明城站","官迳线",4]
[null,65,"富湾站","35kV海螺线",3,null,137,"明城站","城西线",4]
[null,66,"富湾站","富湾线",3,null,138,"明城站","北区线",4]
[null,67,"富湾站","锰矿线",3,null,139,"明城站","太康线",4]
[null,68,"富湾站","佛照甲线",3,null,140,"明城站","明城线",4]
[null,69,"富湾站","业和线",3,null,141,"禄堂站","白管线",4]
[null,70,"富湾站","业恒线",3,null,142,"禄堂站","建材丙线",4]
[null,71,"富湾站","富荷线",3,null,143,"禄堂站","建材丁线",4]
[null,72,"富湾站","东泽线",3,null,144,"禄堂站","云勇线",4]

{"sheet":"星期日","index":6,"n_rows":75,"n_cols":10,"rows_kept":75,"merged":[[0,0,0,9],[2,0,74,0]],"flags":["formulas_cached_only"]}
["高明区2015年有序用电安排表"]
["有序用电时间","序号","变电站名称","线路名称","有序用电级别",null,"序号","站名称","变电站名称","有序用电级别"]
["星期日",1,"更楼站","陀柳线",1,null,74,"仙村站","顺成乙线",3]
[null,2,"更楼站","兆和线",1,null,75,"仙村站","兴创线",3]
[null,3,"更楼站","顾地线",1,null,76,"仙村站","雄顺线",3]
[null,4,"更楼站","泽河线",1,null,77,"仙村站","兴源线",3]
[null,5,"合水站","宅布线",1,null,78,"仙村站","海天乙线",3]
[null,6,"合水站","松围线",1,null,79,"仙村站","本田线",3]
[null,7,"合水站","合塘线",1,null,80,"秀丽站","110KV溢秀线",3]
[null,8,"合水站","合诚甲线",1,null,81,"秀丽站","明都线",3]
[null,9,"合水站","瑶村线",1,null,82,"秀丽站","文华线",3]
[null,10,"合水站","合顺甲线",1,null,83,"秀丽站","文明线",3]
[null,11,"合水站","诚德甲线",1,null,84,"秀丽站","交通线",3]
[null,12,"合水站","广建线",1,null,85,"秀丽站","文竹线",3]
[null,13,"合水站","合诚乙线",1,null,86,"秀丽站","一小线",3]
[null,14,"后龙站","渡水线",1,null,87,"秀丽站","技工线",3]
[null,15,"后龙站","天湖线",1,null,88,"秀丽站","荷香线",3]
[null,16,"后龙站","歌乐线",1,null,89,"秀丽站","沧江线",3]
[null,17,"后龙站","梧桐线",1,null,90,"秀丽站","沿江线",3]
[null,18,"后龙站","高森甲线",1,null,91,"秀丽站","水泥线",3]
[null,19,"小洞站","永航甲线",1,null,92,"秀丽站","跃华线",3]
[null,20,"小洞站","永航乙线",1,null,93,"秀丽站","市府线",3]
[null,21,"小洞站","官山线",1,null,94,"秀丽站","世嘉线",3]
[null,22,"小洞站","黄象线",1,null,95,"秀丽站","文昌线",3]
[null,23,"小洞站","小建线",1,null,96,"秀丽站","鹿湖线",3]
[null,24,"小洞站","塘角线",1,null,97,"秀丽站","二轻线",3]
[null,25,"小洞站","中德线",1,null,98,"秀丽站","勤学线",3]
[null,26,"小洞站","小洞线",1,null,99,"秀丽站","二塑线",3]
[null,27,"小洞站","豪帮甲线",1,null,100,"秀丽站","水闸线",3]
[null,28,"小洞站","小宅线",1,null,101,"秀丽站","大桥线",3]
[null,29,"高明站","圆岗丙线",2,null,102,"秀丽站","口岸线",3]
[null,30,"高明站","大沙线",2,null,103,"秀丽站","彩印线",3]
[null,31,"仙村站","人和线",2,null,104,"丽景站","精工线",3]
[null,32,"仙村站","三和丙线",2,null,105,"丽景站","冼何线",3]
[null,33,"仙村站","三和乙线",2,null,106,"丽景站","丽北线",3]
[null,34,"仙村站","三和甲线",2,null,107,"丽景站","鳌围线",3]
[null,35,"杨梅站","井头线",2,null,108,"丽景站","丽福线",3]
[null,36,"杨梅站","吉特线",2,null,109,"丽景站","盈夏线",3]
[null,37,"杨梅站","杨梅线",2,null,110,"丽景站","范洲线",3]
[null,38,"杨梅站","溢达甲线",2,null,111,"禄堂站","王者甲线",4]
[null,39,"杨梅站","六联甲线",2,null,112,"禄堂站","王者乙线",4]
[null,40,"杨梅站","六联乙线",2,null,113,"禄堂站","禾仓线",4]
[null,41,"杨梅站","三英线",2,null,114,"禄堂站","建材甲线",4]
[null,42,"杨梅站","云顶岗线",2,null,115,"禄堂站","建材乙线",4]
[null,43,"杨梅站","云下线",2,null,116,"禄堂站","榕根线",4]
[null,44,"杨梅站","大塘面线",2,null,117,"石塘站","谭朗线",4]
[null,45,"杨梅站","六联丙线",2,null,118,"石塘站","石明线",4]
[null,46,"杨梅站","河西线",2,null,119,"石塘站","高田线",4]
[null,47,"杨梅站","溢达乙线",2,null,120,"石塘站","日钢线",4]
[null,48,"杨梅站","三石线",2,null,121,"石塘站","天喜线",4]
[null,49,"杨梅站","深吉线",2,null,122,"石塘站","高西线",4]
[null,50,"禄堂站","110KV禄金线",2,null,123,"石塘站","石苗线",4]
[null,51,"禄堂站","宝钢丁线",2,null,124,"石塘站","华兴甲线",4]
[null,52,"禄堂站","合和线",2,null,125,"石塘站","新村线",4]
[null,53,"禄堂站","宝钢甲线",2,null,126,"石塘站","商贸线",4]
[null,54,"禄堂站","宝钢乙线",2,null,127,"石塘站","桥头线",4]
[null,55,"三洲站","坚明线",3,null,128,"石塘站","南钢线",4]
[null,56,"三洲站","考场线",3,null,129,"石塘站","华兴乙线",4]
[null,57,"三洲站","纪中线",3,null,130,"鹅村站","坑头线",4]
[null,58,"三洲站","创业线",3,null,131,"鹅村站","沙村线",4]
[null,59,"三洲站","三尼线",3,null,132,"鹅村站","版村线",4]
[null,60,"三洲站","东明线",3,null,133,"更楼站","耀银甲线",4]
[null,61,"三洲站","三洲线",3,null,134,"更楼站","更诚甲线",4]
[null,62,"仙村站","明和线",3,null,135,"更楼站","佬菜线",4]
[null,63,"仙村站","顺成甲线",3,null,136,"更楼站","耀银乙线",4]
[null,64,"仙村站","海天甲线",3,null,137,"更楼站","钢铁线",4]
[null,65,"仙村站","安鸿线",3,null,138,"更楼站","德铸甲线",4]
[null,66,"仙村站","金穗线",3,null,139,"更楼站","陶瓷线",4]
[null,67,"仙村站","海天丙线",3,null,140,"更楼站","更诚乙线",4]
[null,68,"仙村站","海天丁线",3,null,141,"更楼站","冶炼线",4]
[null,69,"仙村站","法恩线",3,null,142,"更楼站","更居线",4]
[null,70,"仙村站","西庆丁线",3,null,143,"更楼站","远达线",4]
[null,71,"仙村站","尼教线",3,null,144,"更楼站","塑料线",4]
[null,72,"仙村站","包装甲线",3,null,145,"更楼站","五金线",4]
[null,73,"仙村站","孔堂线",3]