{"text_format":"3","workbook":"xls","n_sheets":8,"sheets":["星期一","星期二","星期三","星期四","星期五","星期六","星期日","Sheet1"],"not_rendered":{"external_links":2,"defined_names":4},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"星期一","index":0,"n_rows":55,"n_cols":6,"rows_kept":55,"merged":[[1,0,1,5]],"flags":["formulas_cached_only"]}
["附件4："]
["高明区2015年有序用电限电序位表（星期一）"]
["序号","所属镇街","变电站名称","线路名称","正常负荷(kW)","备注"]
[1,"荷城所","富湾站","35kV海螺线",15000," "]
[2,"荷城所","丽景站","宝项甲线",5000]
[3,"荷城所","富湾站","业和线",2400]
[4,"荷城所","三洲站","一塑线",1400]
[5,"荷城所","兴良站","联润线",3800]
[6,"荷城所","富湾站","佛照甲线",3200]
[7,"荷城所","富湾站","佛照甲线",3200]
[8,"荷城所","仁德站","白梅线",1300]
[9,"荷城所","富湾站","业恒线",5000]
[10,"荷城所","富湾站","东泽线",3900]
[11,"荷城所","三洲站","河畔线",500]
[12,"荷城所","丽景站","西安线",3200]
[13,"荷城所","富湾站","渡头线",4700]
[14,"荷城所","三洲站","民康线",3300]
[15,"荷城所","富湾站","35kV富西线",150]
[16,"荷城所","富湾站","富油甲线",3600]
[17,"荷城所","富湾站","宏基线",3100]
[18,"荷城所","丽景站","丽江线",3600]
[19,"杨和所","高明站","福煌线",4200]
[20,"杨和所","高明站","宝进线",5400]
[21,"杨和所","禄堂站","宝钢丙线",9500]
[22,"杨和所","禄堂站","基业甲线",4700]
[23,"杨和所","禄堂站","粤宏发线",4900]
[24,"杨和所","高明站","镇府线",6900]
[25,"杨和所","禄堂站","站东线",8100]
[26,"杨和所","高明站","圆岗乙线",8700]
[27,"杨和所","禄堂站","川坑线",6200]
[28,"明城所","明城站","35kV明峰线",6000]
[29,"明城所","明城站","35kV明协线",2500]
[30,"明城所","明城站","35kV明公线",5800]
[31,"明城所","明城站","35kV佛明线",1000]
[32,"明城所","明城站","富雄线",7100]
[33,"明城所","明城站","雅居甲线",7300]
[34,"明城所","禄堂站","建材丙线",6600]
[35,"明城所","禄堂站","建材丁线",6500]
[36,"明城所","明城站","北区线",3300]
[37,"明城所","明城站","太康线",1000]
[38,"更合所","小洞站","永航甲线",7400]
[39,"更合所","小洞站","永航乙线",7700]
[40,"更合所","小洞站","豪帮甲线",7800]
[41,"更合所","合水站","合诚甲线",14800]
[42,"更合所","小洞站","中德线",4600]
[43,"更合所","更楼站","顾地线",2300]
[44,"更合所","合水站","诚德甲线",2500]
[45,"更合所","合水站","合诚乙线",11700]
[46,"更合所","合水站","广建线",5800]
[47,"更合所","小洞站","小洞线",1400]
[48,"更合所","更楼站","兆和线",1100]
[49,"更合所","小洞站","小建线",100]
[50,"更合所","后龙站","高森甲线",7700]
[51,"更合所","后龙站","梧桐线",700]
[52,"更合所","合水站","合顺甲线",6900]

{"sheet":"星期二","index":1,"n_rows":66,"n_cols":6,"rows_kept":66,"merged":[[1,0,1,5]],"flags":["formulas_cached_only"]}
[]
["高明区2015年有序用电限电序位表（星期二）"]
["序号","所属镇街","变电站名称","线路名称","正常负荷(kW)","备注"]
[1,"荷城所","仙村站","顺成甲线",3000," "]
[2,"荷城所","秀丽站","水泥线",200]
[3,"荷城所","秀丽站","二塑线",2500]
[4,"荷城所","富湾站","35kV海螺线",15000]
[5,"荷城所","仙村站","法恩线",9800]
[6,"荷城所","富湾站","业和线",2400]
[7,"荷城所","富湾站","业恒线",5000]
[8,"荷城所","三洲站","坚明线",80]
[9,"荷城所","仙村站","顺成乙线",3000]
[10,"荷城所","仙村站","雄顺线",3000]
[11,"荷城所","富湾站","35kV富西线",150]
[12,"荷城所","富湾站","佛照甲线",3200]
[13,"荷城所","富湾站","佛照甲线",3200]
[14,"荷城所","三洲站","一塑线",1400]
[15,"荷城所","三洲站","河畔线",500]
[16,"荷城所","三洲站","创业线",1800]
[17,"荷城所","仙村站","明和线",1000]
[18,"荷城所","丽景站","丽北线",4000]
[19,"荷城所","仙村站","西庆丁线",30]
[20,"荷城所","丽景站","盈夏线",4000]
[21,"荷城所","仙村站","包装甲线",3000]
[22,"荷城所","秀丽站","110KV溢秀线",22000]
[23,"荷城所","仙村站","本田线",1500]
[24,"荷城所","兴良站","联润线",3800]
[25,"荷城所","富湾站","东泽线",3900]
[26,"荷城所","富湾站","渡头线",4700]
[27,"荷城所","富湾站","宏基线",3100]
[28,"荷城所","仁德站","白梅线",1300]
[29,"荷城所","三洲站","民康线",3300]
[30,"荷城所","富湾站","富油甲线",3600]
[31,"荷城所","仙村站","海天乙线",5000]
[32,"荷城所","仙村站","海天甲线",4500]
[33,"荷城所","仙村站","镇府线",6000]
[34,"荷城所","仙村站","海天丁线",5500]
[35,"杨和所","禄堂站","宝钢丁线",6100]
[36,"杨和所","仙村站","三和丙线",8600]
[37,"杨和所","禄堂站","110KV禄金线",33000]
[38,"杨和所","杨梅站","六联乙线",4600]
[39,"杨和所","杨梅站","溢达甲线",3000]
[40,"杨和所","杨梅站","六联丙线",7200]
[41,"杨和所","杨梅站","溢达乙线",1500]
[42,"杨和所","禄堂站","合和线",4800]
[43,"杨和所","杨梅站","六联甲线",6200]
[44,"杨和所","禄堂站","宝钢甲线",6600]
[45,"杨和所","禄堂站","宝钢乙线",7800]
[46,"杨和所","杨梅站","云下线",6500]
[47,"明城所","禄堂站","王者甲线",6500]
[48,"明城所","禄堂站","王者乙线",6500]
[49,"明城所","禄堂站","建材甲线",6400]
[50,"明城所","禄堂站","建材乙线",6300]
[51,"明城所","石塘站","石明线",2500]
[52,"明城所","石塘站","日钢线",4000," "]
[53,"明城所","石塘站","华兴甲线",4700]
[54,"明城所","禄堂站","榕根线",5500]
[55,"明城所","石塘站","华兴乙线",9500]
[56,"明城所","石塘站","南钢线",2900]
[57,"更合所","更楼站","远达线",2700]
[58,"更合所","更楼站","五金线",8700]
[59,"更合所","更楼站","耀银甲线",5900]
[60,"更合所","更楼站","耀银乙线",7000]
[61,"更合所","更楼站","陶瓷线",6400]
[62,"更合所","更楼站","德铸甲线",6500]
[63,"更合所","更楼站","钢铁线",2100]

{"sheet":"星期三","index":2,"n_rows":59,"n_cols":6,"rows_kept":59,"merged":[[1,0,1,5]],"flags":["formulas_cached_only"]}
[]
["高明区2015年有序用电限电序位表（星期三）"]
["序号","所属镇街","变电站名称","线路名称","正常负荷(kW)","备注"]
[1,"荷城所","秀丽站","二塑线",2500," "]
[2,"荷城所","秀丽站","水泥线",200]
[3,"荷城所","丽景站","盈夏线",4000]
[4,"荷城所","仙村站","明和线",1000]
[5,"荷城所","丽景站","宝项甲线",5000]
[6,"荷城所","丽景站","丽江线",3600]
[7,"荷城所","仙村站","西庆丁线",30]
[8,"荷城所","秀丽站","110KV溢秀线",22000]
[9,"荷城所","丽景站","丽北线",4000]
[10,"荷城所","三洲站","坚明线",80]
[11,"荷城所","仙村站","雄顺线",3000]
[12,"荷城所","仙村站","顺成乙线",3000]
[13,"荷城所","丽景站","西安线",3200]
[14,"荷城所","三洲站","创业线",1800]
[15,"荷城所","仙村站","顺成甲线",3000]
[16,"荷城所","仙村站","包装甲线",3000]
[17,"荷城所","仙村站","法恩线",9800]
[18,"荷城所","仙村站","海天甲线",4500]
[19,"荷城所","仙村站","海天丙线",6000]
[20,"荷城所","仙村站","海天丁线",5500]
[21,"荷城所","仙村站","海天乙线",5000]
[22,"荷城所","仙村站","本田线",1500]
[23,"杨和所","高明站","福煌线",4200]
[24,"杨和所","禄堂站","粤宏发线",4900]
[25,"杨和所","高明站","宝进线",5400]
[26,"杨和所","高明站","镇府线",6900]
[27,"杨和所","高明站","圆岗乙线",8700]
[28,"杨和所","禄堂站","宝钢丙线",9500]
[29,"杨和所","禄堂站","站东线",8100]
[30,"杨和所","禄堂站","川坑线",6200]
[31,"杨和所","禄堂站","基业甲线",4700]
[32,"明城所","明城站","35kV明峰线",6000]
[33,"明城所","明城站","35kV明协线",2500]
[34,"明城所","明城站","35kV明公线",5800]
[35,"明城所","明城站","35kV佛明线",1000]
[36,"明城所","明城站","富雄线",7100]
[37,"明城所","明城站","雅居甲线",7300]
[38,"明城所","明城站","北区线",3300]
[39,"明城所","明城站","太康线",1000]
[40,"明城所","禄堂站","建材丙线",6600]
[41,"明城所","禄堂站","建材丁线",6500]
[42,"更合所","小洞站","永航甲线",7400]
[43,"更合所","后龙站","梧桐线",700]
[44,"更合所","小洞站","小建线",100]
[45,"更合所","后龙站","高森甲线",7700]
[46,"更合所","小洞站","永航乙线",7700]
[47,"更合所","小洞站","豪帮甲线",7800]
[48,"更合所","更楼站","顾地线",2300]
[49,"更合所","合水站","合诚甲线",14800]
[50,"更合所","小洞站","中德线",4600]
[51,"更合所","合水站","诚德甲线",2500]
[52,"更合所","合水站","合顺甲线",6900," "]
[53,"更合所","合水站","合诚乙线",11700]
[54,"更合所","更楼站","兆和线",1100]
[55,"更合所","小洞站","小洞线",1400]
[56,"更合所","合水站","广建线",5800]

{"sheet":"星期四","index":3,"n_rows":54,"n_cols":6,"rows_kept":54,"merged":[[1,0,1,5]],"flags":["formulas_cached_only"]}
[]
["高明区2015年有序用电限电序位表（星期四）"]
["序号","所属镇街","变电站名称","线路名称","正常负荷(kW)","备注"]
[1,"荷城所","丽景站","宝项甲线",5000," "]
[2,"荷城所","三洲站","一塑线",1400]
[3,"荷城所","富湾站","业和线",2400]
[4,"荷城所","富湾站","业恒线",5000]
[5,"荷城所","富湾站","35kV海螺线",15000]
[6,"荷城所","富湾站","佛照甲线",3200]
[7,"荷城所","富湾站","佛照甲线",3200]
[8,"荷城所","丽景站","丽江线",3600]
[9,"荷城所","兴良站","联润线",3800]
[10,"荷城所","仁德站","白梅线",1300]
[11,"荷城所","富湾站","东泽线",3900]
[12,"荷城所","三洲站","河畔线",500]
[13,"荷城所","富湾站","渡头线",4700]
[14,"荷城所","三洲站","民康线",3300]
[15,"荷城所","丽景站","西安线",3200]
[16,"荷城所","富湾站","35kV富西线",150]
[17,"荷城所","富湾站","富油甲线",3600]
[18,"荷城所","富湾站","宏基线",3100]
[19,"杨和所","高明站","福煌线",4200]
[20,"杨和所","仙村站","三和丙线",8600]
[21,"杨和所","杨梅站","六联乙线",4600]
[22,"杨和所","禄堂站","110KV禄金线",33000]
[23,"杨和所","杨梅站","溢达甲线",3000]
[24,"杨和所","禄堂站","宝钢丁线",6100]
[25,"杨和所","禄堂站","合和线",4800]
[26,"杨和所","禄堂站","宝钢乙线",7800]
[27,"杨和所","高明站","宝进线",5400]
[28,"杨和所","禄堂站","宝钢甲线",6600]
[29,"杨和所","杨梅站","六联丙线",7200]
[30,"杨和所","高明站","镇府线",6900]
[31,"杨和所","高明站","圆岗乙线",8700]
[32,"杨和所","杨梅站","溢达乙线",1500]
[33,"杨和所","杨梅站","六联甲线",6200]
[34,"杨和所","杨梅站","云下线",6500]
[35,"明城所","禄堂站","王者甲线",6500]
[36,"明城所","禄堂站","王者乙线",6500]
[37,"明城所","禄堂站","建材甲线",6400]
[38,"明城所","禄堂站","建材乙线",6300]
[39,"明城所","禄堂站","榕根线",5500]
[40,"明城所","石塘站","石明线",2500]
[41,"明城所","石塘站","日钢线",4000]
[42,"明城所","石塘站","华兴甲线",4700]
[43,"明城所","石塘站","南钢线",2900]
[44,"明城所","石塘站","华兴乙线",9500]
[45,"更合所","更楼站","远达线",2700]
[46,"更合所","更楼站","五金线",8700]
[47,"更合所","更楼站","德铸甲线",6500]
[48,"更合所","更楼站","陶瓷线",6400]
[49,"更合所","更楼站","耀银甲线",5900]
[50,"更合所","更楼站","耀银乙线",7000]
[51,"更合所","更楼站","钢铁线",2100]

{"sheet":"星期五","index":4,"n_rows":64,"n_cols":6,"rows_kept":64,"merged":[[1,0,1,5]],"flags":["formulas_cached_only"]}
[]
["高明区2015年有序用电限电序位表（星期五）"]
["序号","所属镇街","变电站名称","线路名称","正常负荷(kW)","备注"]
[1,"荷城所","秀丽站","水泥线",200," "]
[2,"荷城所","秀丽站","二塑线",2500]
[3,"荷城所","仙村站","明和线",1000]
[4,"荷城所","秀丽站","110KV溢秀线",22000]
[5,"荷城所","三洲站","坚明线",80]
[6,"荷城所","仙村站","雄顺线",3000]
[7,"荷城所","仙村站","西庆丁线",30]
[8,"荷城所","丽景站","丽北线",4000]
[9,"荷城所","仙村站","顺成乙线",3000]
[10,"荷城所","丽景站","盈夏线",4000]
[11,"荷城所","三洲站","创业线",1800]
[12,"荷城所","仙村站","顺成甲线",3000]
[13,"荷城所","仙村站","包装甲线",3000]
[14,"荷城所","仙村站","法恩线",9800]
[15,"荷城所","仙村站","海天甲线",4500]
[16,"荷城所","仙村站","海天丙线",6000]
[17,"荷城所","仙村站","海天丁线",5500]
[18,"荷城所","仙村站","海天乙线",5000]
[19,"荷城所","仙村站","本田线",1500]
[20,"杨和所","禄堂站","110KV禄金线",33000]
[21,"杨和所","杨梅站","溢达甲线",3000]
[22,"杨和所","杨梅站","六联乙线",4600]
[23,"杨和所","禄堂站","粤宏发线",4900]
[24,"杨和所","杨梅站","六联丙线",7200]
[25,"杨和所","禄堂站","宝钢丁线",6100]
[26,"杨和所","杨梅站","溢达乙线",1500]
[27,"杨和所","禄堂站","合和线",4800]
[28,"杨和所","杨梅站","六联甲线",6200]
[29,"杨和所","禄堂站","宝钢甲线",6600]
[30,"杨和所","杨梅站","云下线",6500]
[31,"杨和所","禄堂站","宝钢乙线",7800]
[32,"杨和所","禄堂站","宝钢丙线",9500]
[33,"杨和所","禄堂站","站东线",8100]
[34,"杨和所","禄堂站","川坑线",6200]
[35,"杨和所","禄堂站","基业甲线",4700]
[36,"杨和所","仙村站","三和丙线",8600]
[37,"明城所","明城站","35kV明峰线",6000]
[38,"明城所","明城站","35kV明协线",2500]
[39,"明城所","明城站","35kV明公线",5800]
[40,"明城所","明城站","35kV佛明线",1000]
[41,"明城所","禄堂站","建材丁线",6500]
[42,"明城所","禄堂站","建材丙线",6600]
[43,"明城所","明城站","富雄线",7100]
[44,"明城所","明城站","雅居甲线",7300]
[45,"明城所","明城站","北区线",3300]
[46,"明城所","明城站","太康线",1000]
[47,"更合所","小洞站","永航甲线",7400]
[48,"更合所","小洞站","永航乙线",7700]
[49,"更合所","更楼站","顾地线",2300]
[50,"更合所","小洞站","豪帮甲线",7800]
[51,"更合所","合水站","合诚甲线",14800]
[52,"更合所","小洞站","中德线",4600," "]
[53,"更合所","更楼站","兆和线",1100]
[54,"更合所","合水站","诚德甲线",2500]
[55,"更合所","合水站","合诚乙线",11700]
[56,"更合所","合水站","广建线",5800]
[57,"更合所","小洞站","小洞线",1400]
[58,"更合所","小洞站","小建线",100]
[59,"更合所","后龙站","梧桐线",700]
[60,"更合所","后龙站","高森甲线",7700]
[61,"更合所","合水站","合顺甲线",6900]

{"sheet":"星期六","index":5,"n_rows":57,"n_cols":6,"rows_kept":57,"merged":[[1,0,1,5]],"flags":["formulas_cached_only"]}
[]
["高明区2015年有序用电限电序位表（星期六）"]
["序号","所属镇街","变电站名称","线路名称","正常负荷(kW)","备注"]
[1,"荷城所","兴良站","联润线",3800," "]
[2,"荷城所","三洲站","一塑线",1400]
[3,"荷城所","丽景站","宝项甲线",5000]
[4,"荷城所","富湾站","佛照甲线",3200]
[5,"荷城所","富湾站","佛照甲线",3200]
[6,"荷城所","丽景站","丽江线",3600]
[7,"荷城所","富湾站","业和线",2400]
[8,"荷城所","仁德站","白梅线",1300]
[9,"荷城所","富湾站","业恒线",5000]
[10,"荷城所","富湾站","东泽线",3900]
[11,"荷城所","富湾站","渡头线",4700]
[12,"荷城所","丽景站","西安线",3200]
[13,"荷城所","三洲站","民康线",3300]
[14,"荷城所","富湾站","35kV富西线",150]
[15,"荷城所","三洲站","河畔线",500]
[16,"荷城所","富湾站","35kV海螺线",15000]
[17,"荷城所","富湾站","富油甲线",3600]
[18,"荷城所","富湾站","宏基线",3100]
[19,"杨和所","高明站","福煌线",4200]
[20,"杨和所","高明站","宝进线",5400]
[21,"杨和所","禄堂站","粤宏发线",4900]
[22,"杨和所","高明站","镇府线",6900]
[23,"杨和所","高明站","圆岗乙线",8700]
[24,"杨和所","禄堂站","宝钢丙线",9500]
[25,"杨和所","禄堂站","站东线",8100]
[26,"杨和所","禄堂站","川坑线",6200]
[27,"杨和所","禄堂站","基业甲线",4700]
[28,"明城所","明城站","35kV明峰线",6000]
[29,"明城所","明城站","35kV明协线",2500]
[30,"明城所","明城站","35kV明公线",5800]
[31,"明城所","明城站","35kV佛明线",1000]
[32,"明城所","石塘站","南钢线",2900]
[33,"明城所","石塘站","石明线",2500]
[34,"明城所","禄堂站","建材丙线",6600]
[35,"明城所","石塘站","日钢线",4000]
[36,"明城所","禄堂站","建材丁线",6500]
[37,"明城所","明城站","富雄线",7100]
[38,"明城所","明城站","雅居甲线",7300]
[39,"明城所","明城站","北区线",3300]
[40,"明城所","明城站","太康线",1000]
[41,"明城所","禄堂站","王者甲线",6500]
[42,"明城所","禄堂站","王者乙线",6500]
[43,"明城所","禄堂站","建材甲线",6400]
[44,"明城所","禄堂站","建材乙线",6300]
[45,"明城所","禄堂站","榕根线",5500]
[46,"明城所","石塘站","华兴甲线",4700]
[47,"明城所","石塘站","华兴乙线",9500]
[48,"更合所","更楼站","远达线",2700]
[49,"更合所","更楼站","五金线",8700]
[50,"更合所","更楼站","耀银甲线",5900]
[51,"更合所","更楼站","陶瓷线",6400]
[52,"更合所","更楼站","钢铁线",2100]
[53,"更合所","更楼站","耀银乙线",7000]
[54,"更合所","更楼站","德铸甲线",6500]

{"sheet":"星期日","index":6,"n_rows":66,"n_cols":6,"rows_kept":66,"merged":[[0,0,0,1],[1,0,1,5]],"flags":["formulas_cached_only"]}
["附件4"]
["高明区2015年有序用电限电序位表（星期日）"]
["序号","所属镇街","变电站名称","线路名称","正常负荷(kW)","备注"]
[1,"荷城所","仙村站","明和线",1000," "]
[2,"荷城所","秀丽站","水泥线",200]
[3,"荷城所","仙村站","顺成甲线",3000]
[4,"荷城所","秀丽站","二塑线",2500]
[5,"荷城所","仙村站","法恩线",9800]
[6,"荷城所","秀丽站","110KV溢秀线",22000]
[7,"荷城所","三洲站","坚明线",80]
[8,"荷城所","仙村站","顺成乙线",3000]
[9,"荷城所","仙村站","西庆丁线",30]
[10,"荷城所","仙村站","雄顺线",3000]
[11,"荷城所","仙村站","包装甲线",3000]
[12,"荷城所","仙村站","本田线",1500]
[13,"荷城所","丽景站","丽北线",4000]
[14,"荷城所","丽景站","盈夏线",4000]
[15,"荷城所","三洲站","创业线",1800]
[16,"荷城所","仙村站","海天甲线",4500]
[17,"荷城所","仙村站","海天丙线",6000]
[18,"荷城所","仙村站","海天丁线",5500]
[19,"荷城所","仙村站","海天乙线",5000]
[20,"杨和所","仙村站","三和丙线",8600]
[21,"杨和所","杨梅站","溢达甲线",3000]
[22,"杨和所","禄堂站","110KV禄金线",33000]
[23,"杨和所","禄堂站","宝钢丁线",6100]
[24,"杨和所","杨梅站","六联乙线",4600]
[25,"杨和所","禄堂站","宝钢甲线",6600]
[26,"杨和所","杨梅站","六联丙线",7200]
[27,"杨和所","禄堂站","宝钢乙线",7800]
[28,"杨和所","杨梅站","溢达乙线",1500]
[29,"杨和所","杨梅站","六联甲线",6200]
[30,"杨和所","禄堂站","合和线",4800]
[31,"杨和所","杨梅站","云下线",6500]
[32,"明城所","石塘站","南钢线",2900]
[33,"明城所","禄堂站","王者甲线",6500]
[34,"明城所","禄堂站","王者乙线",6500]
[35,"明城所","禄堂站","建材甲线",6400]
[36,"明城所","禄堂站","建材乙线",6300]
[37,"明城所","石塘站","石明线",2500]
[38,"明城所","石塘站","日钢线",4000]
[39,"明城所","石塘站","华兴甲线",4700]
[40,"明城所","石塘站","华兴乙线",9500]
[41,"明城所","禄堂站","榕根线",5500]
[42,"更合所","更楼站","远达线",2700]
[43,"更合所","小洞站","永航甲线",7400]
[44,"更合所","更楼站","五金线",8700]
[45,"更合所","小洞站","永航乙线",7700]
[46,"更合所","小洞站","小建线",100]
[47,"更合所","小洞站","豪帮甲线",7800]
[48,"更合所","合水站","合顺甲线",6900]
[49,"更合所","小洞站","中德线",4600]
[50,"更合所","合水站","合诚甲线",14800]
[51,"更合所","合水站","合诚乙线",11700]
[52,"更合所","更楼站","德铸甲线",6500," "]
[53,"更合所","合水站","诚德甲线",2500]
[54,"更合所","更楼站","耀银乙线",7000]
[55,"更合所","更楼站","耀银甲线",5900]
[56,"更合所","更楼站","钢铁线",2100]
[57,"更合所","更楼站","陶瓷线",6400]
[58,"更合所","更楼站","兆和线",1100]
[59,"更合所","更楼站","顾地线",2300]
[60,"更合所","合水站","广建线",5800]
[61,"更合所","后龙站","梧桐线",700]
[62,"更合所","后龙站","高森甲线",7700]
[63,"更合所","小洞站","小洞线",1400]

{"sheet":"Sheet1","index":7,"n_rows":0,"n_cols":0,"rows_kept":0,"flags":["formulas_cached_only"]}