{"text_format":"3","workbook":"xls","n_sheets":1,"sheets":["高明供电局2015年事故限电序位表"],"not_rendered":{"external_links":2,"defined_names":2},"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"高明供电局2015年事故限电序位表","index":0,"n_rows":74,"n_cols":7,"rows_kept":74,"merged":[[1,0,1,6],[73,0,73,2]],"flags":["formulas_cached_only"]}
["附件5"]
["高明区2015年电网事故限电序位表"]
["限电顺序","供电所","厂站名称","电压\n等级","线路编号\n及名称","负荷\n(kW)","备注"]
[1,"明城所","明城变电站","35kV","312明峰线",6000," "]
[2,"明城所","明城变电站","35kV","316明协线",2500]
[3,"荷城所","富湾变电站","35kV","313海螺线",15000]
[4,"杨和所","禄堂变电站","10kV","716基业甲线",4700]
[5,"荷城所","富湾变电站","10kV","704业和线",2400]
[6,"明城所","禄堂变电站","10kV","712王者甲线",6500]
[7,"杨和所","杨梅变电站","10kV","715六联丙线",7200]
[8,"杨和所","杨梅变电站","10kV","705六联甲线",6200]
[9,"杨和所","杨梅变电站","10kV","706六联乙线",4600]
[10,"更合所","更楼变电站","10kV","701耀银甲线",5900]
[11,"荷城所","仁德变电站","10kV","719白梅线",1300]
[12,"杨和所","高明变电站","10kV","722圆岗甲线",5800]
[13,"荷城所","仙村变电站","10kV","724雄顺线",3000]
[14,"杨和所","禄堂变电站","10kV","706宝钢甲线",6600]
[15,"明城所","石塘变电站","10kV","706日钢线",4000]
[16,"明城所","禄堂变电站","10kV","704建材丁线",6500]
[17,"荷城所","丽景变电站","10kV","706盈夏线",4000]
[18,"杨和所","杨梅变电站","10kV","717溢达乙线",1500]
[19,"杨和所","杨梅变电站","10kV","707三英线",5200]
[20,"荷城所","仙村变电站","10kV","703海天甲线",4500]
[21,"荷城所","秀丽变电站","10kV","707二塑线",2500]
[22,"更合所","更楼变电站","10kV","732顾地线",2300]
[23,"更合所","更楼变电站","10kV","704耀银乙线",7000]
[24,"明城所","禄堂变电站","10kV","719建材甲线",6400]
[25,"更合所","合水变电站","10kV","725诚德甲线",2500]
[26,"荷城所","富湾变电站","10kV","705业恒线",5000]
[27,"杨和所","高明变电站","10kV","709福煌线",4200]
[28,"明城所","明城变电站","10kV","701富雄线",7100]
[29,"荷城所","仙村变电站","10kV","727海天乙线",5000]
[30,"明城所","禄堂变电站","10kV","703建材丙线",6600]
[31,"杨和所","高明变电站","10kV","702岑水乙线",7500]
[32,"荷城所","仙村变电站","10kV","722顺成乙线",3000]
[33,"荷城所","仙村变电站","10kV","728本田线",1500]
[34,"荷城所","富湾变电站","10kV","731佛照甲线",3200]
[35,"明城所","禄堂变电站","10kV","713王者乙线",6500]
[36,"荷城所","三洲变电站","10kV","702一塑线",1400]
[37,"更合所","小洞变电站","10kV","715中德线",4600]
[38,"杨和所","禄堂变电站","10kV","708宝钢丙线",9500]
[39,"杨和所","杨梅变电站","10kV","704溢达甲线",3000]
[40,"杨和所","高明变电站","10kV","723圆岗乙线",8700]
[41,"荷城所","仙村变电站","10kV","705金穗线",5100]
[42,"明城所","明城变电站","10kV","713城二线",1200]
[43,"荷城所","仙村变电站","10kV","701明和线",1000]
[44,"杨和所","禄堂变电站","10kV","709站东线",8100]
[45,"荷城所","富湾变电站","10kV","708蓬山线",5500]
[46,"荷城所","三洲变电站","10kV","709民康线",3300]
[47,"杨和所","高明变电站","10kV","721镇府线",6900]
[48,"荷城所","丽景变电站","10kV","714西安线",3200]
[49,"更合所","合水变电站","10kV","726广建线",5800]
[50,"明城所","明城变电站","10kV","735太康线",1000]
[51,"明城所","禄堂变电站","10kV","702白管线",3200]
[52,"更合所","更楼变电站","10kV","707钢铁线",2100]
[53,"更合所","更楼变电站","10kV","711陶瓷线",6400]
[54,"更合所","合水变电站","10kV","716合诚甲线",14800]
[55,"更合所","合水变电站","10kV","729合诚乙线",11700]
[56,"荷城所","丽景变电站","10kV","718宝项甲线",5000]
[57,"荷城所","仙村变电站","10kV","708法恩线",9800]
[58,"荷城所","仙村变电站","10kV","702顺成甲线",3000]
[59,"明城所","禄堂变电站","10kV","720建材乙线",6300]
[60,"杨和所","仙村变电站","10kV","730三和丙线",8600]
[61,"杨和所","禄堂变电站","110kV","127禄金线",33000]
[62,"杨和所","禄堂变电站","10kV","707宝钢乙线",7800]
[63,"杨和所","禄堂变电站","10kV","701宝钢丁线",6100]
[64,"荷城所","秀丽变电站","110kV","123溢秀线",22000]
[65,"更合所","小洞变电站","10kV","701永航甲线",7400]
[66,"更合所","小洞变电站","10kV","702永航乙线",7700]
[67,"杨和所","禄堂变电站","10kV","717粤宏发线",4900]
[68,"更合所","小洞变电站","10kV","719豪帮甲线",7800]
[69,"荷城所","兴良变电站","10kV","715联润线",3800]
[70,"更合所","后龙变电站","10kV","716高森甲线",7700]
["合计",{"$nulls":4},421100]